## diagram
| . | .
.

## panels
[10 empty] | Janitor Closet off Foyer | [22 empty] | Computer Room in Office Area
Main Service Distribution Panel
. | . | . | MSDP |  |  | . | . | .. | . | Original Main |  |  |  |  | . | .. |  | Panel A-1 |  |  |  | .. | . | Panel A |  |  |  | .. | . | . | . | . | KP-1 |  |  |  | .. | . | . | KP-2 |  |  |  | .. | .. | . | LP-1 |  |  |  | .. | . | . | LP-2 |  |  |  | .. | . | .
[19 empty] | . | [5 empty] | . |  | . | [6 empty] | . |  | . |  |  |  |  | . |  | . |  |  |  |  | . |  | . |  |  |  |  | . |  | .
|  |  |  | . | [5 empty] | RTU-1 | 1 | . | Panel A | 2 |  |  |  | 1 |  | 2 |  |  |  | 1 |  | 2 | [6 empty] | 1 |  | 2 |  |  |  |  | 37 |  | 38 |  |  |  |  | 1 |  | 2 |  |  |  |  | 37 |  | 38
|  |  | L P | [6 empty] | Aud West
[18 empty] | 3 |  | 4 |  |  |  | 3 |  | 4 | [6 empty] | 3 |  | 4 |  |  |  |  | 39 |  | 40 |  |  |  |  | 3 |  | 4 |  |  |  |  | 39 |  | 40
|  |  | K P |  | ELEVATOR |  |  |  |  | RTU-2 | 3 |  | Panel B | 4
[10 empty] | Aud East | [7 empty] | 5 |  | 6 |  |  |  | 5 |  | 6 | [6 empty] | 5 |  | 6 |  |  |  |  | 41 |  | 42 |  |  |  |  | 5 |  | 6 |  |  |  |  | 41 |  | 42
Original
[5 empty] | Main | [5 empty] | 5 |  | Panel - | 6 |  |  |  | 7 |  | 8 |  |  |  | 7 |  | 8 | [6 empty] | 7 |  | 8 |  |  |  |  | 43 |  | 44 |  |  |  |  | 7 |  | 8 |  |  |  |  | 43 |  | 44
C, D1, F
[5 empty] | P D P | [12 empty] | 9 |  | 10 |  |  |  | 9 |  | 10 | [6 empty] | 9 |  | 10 |  |  |  |  | 45 |  | 46 |  |  |  |  | 9 |  | 10 |  |  |  |  | 45 |  | 46
[11 empty] | 7 |  |  | 8
[18 empty] | 11 |  | 12 |  |  |  | 11 |  | 12 | [6 empty] | 11 |  | 12 |  |  |  |  | 47 |  | 48 |  |  |  |  | 11 |  | 12 |  |  |  |  | 47 |  | 48
[11 empty] | 9 |  | Panel A-1 | 10
[24 empty] | 13 |  | 14 | [6 empty] | 13 |  | 14 |  |  |  |  | 49 |  | 50 |  |  |  |  | 13 |  | 14
[10 empty] | Panel D | 11 |  |  | 12 |  |  |  | Power Distribution Panel
[17 empty] | . | PDP |  |  | . |  |  | 15 |  | 16 | [6 empty] | 15 |  | 16 |  |  |  |  | 51 |  | 52 |  |  |  |  | 15 |  | 16
[11 empty] | 13 |  | 1-40(A) | 14
[13 empty] | blower, A/C |  |  |  |  | RTU-6 | [5 empty] | 17 |  | 18 | [6 empty] | 17 |  | 18 |  |  |  |  | 53 |  | 54 |  |  |  |  | 17 |  | 18
[18 empty] | RTU-5 |  | SPARE
[10 empty] | Panel E & G | 15 |  |  | 16 |  |  |  | RTU-9 |  | RTU-8 |  |  |  | 19 |  | 20 | [6 empty] | 19 |  | 20 |  |  |  |  | 55 |  | 56 |  |  |  |  | 19 |  | 20
[10 empty] | Unit#7 & 8 | [7 empty] | RTU-10 |  | RTU-4
[18 empty] | RTU-7 |  | RTU-3 |  |  |  | 21 |  | 22 | [6 empty] | 21 |  | 22 |  |  |  |  | 57 |  | 58 |  |  |  |  | 21 |  | 22
[24 empty] | 23 |  | 24 | [6 empty] | 23 |  | 24 |  |  |  |  | 59 |  | 60 |  |  |  |  | 23 |  | 24
[9 empty] | 1 | RTU-1 auditorium | [7 empty] | RTU-3 4th flr East
[9 empty] | 3 | RTU-2 auditorium | [7 empty] | RTU-4 4th flr West | [5 empty] | 25 |  | 26 | [6 empty] | 25 |  | 26 | [11 empty] | 25 |  | 26
RTU-5 Canteen
[18 empty] | RTU-6 Gym | [5 empty] | 27 |  | 28 | [6 empty] | 27 |  | 28 | [11 empty] | 27 |  | 28
RTU-7 Nurseries
[18 empty] | RTU-8 N/S Hallway | [5 empty] | 29 |  | 30 | [6 empty] | 29 |  | 30 | [11 empty] | 29 |  | 30
RTU-9 Offices N side
[18 empty] | RTU-10 Kitchen, Prayer Rm | [5 empty] | 31 |  | 32 | [6 empty] | 31 |  | 32 | [11 empty] | 31 |  | 32
[24 empty] | 33 |  | 34 | [6 empty] | 33 |  | 34 | [11 empty] | 33 |  | 34
[24 empty] | 35 |  | 36 | [6 empty] | 35 |  | 36 | [11 empty] | 35 |  | 36
[24 empty] | 37 |  | 28
[24 empty] | 39 |  | 40
[24 empty] | 41 |  | 42

## PDP
PDP
Power Distribution Panel
. | RTU-3 | 4th Floor East Side | . | . | .. | .
| RTU-4 | 4th Floor West Side |  |  |  |  | .
| RTU-5 | Canteen
| RTU-6 | Gym
| RTU-7 | Nurseries
| RTU-8 | North/South Hallway
| RTU-9 | Offices - North Side
| RTU-10 | Kitchen, Prayer Room, Baths
RTU = Roof Top Unit (A/C)

## Original Main -RED
Panel Original Main-Red
(located janitors closet)
. |  |  | . | … | … | ….
| 1 | RTU 1
| 2 | Panel A
| 3 | RTU 2
| 4 | Panel B
5
| 6 | Panel C & D-1 & F
7
8
9
10
| 11 | Panel D
12
13
| 14 | 1-40(A), Unit #1 (blower, A/C)
| 15 | Panel E & G, Unit#7 & 8

## A-1-baseboards
| Panel A-1 (located janitors closet) |  | . | . | .
. | Federal Pacific Electric Co
1
2
3
4
5
6
7
| 8 | Foyer S. Door Baseboard
9
10
11
12

## A-Yellow
Panel A
| Federal Pacific Electric Co |  |  | . | . |  | .
| Outlets | Lights | Other |  |  | .
1 | 2-5(A,B,C,D,E)
2 | 2-11(C,D,E)
3 | 2-14(B) | 2-(3,4,5) | Exit Light-2-8 (front door)
4 | 2-8(B,C,D), 2-11(B), 2-12(B) | 2-(8.3,13,14)
5 | 2-4(A,B,C,D), 2-8(A)
6 | 2-15(A), 2-16(A), 2-12(A) | 2-12
7 |  | 2-(8.1,8.2)
8
9 |  | 2-1
10 | 1-34(B)
11 | 2-7(A,B,C,D)
12 |  | 2-(15,16)
13 | 2-6(A,B,D)
14 | 2-11(A), 2-14(A) | 2-(11,13) | Exit Light-2-12
15 |  | 2-(6,7,9) | Exit Light-2-8 (back door). Exit Light 2-9
16 |  |  | A/C unit #2, #3
17 | 1-34(A)
18
19 |  | 3-9
20 | 1-42(B)
21
22 | 1-32(E), 1-42(A) |  | aud dimmer lights (right)
23 | 1-32(D), 1-35(A,B) |  | 1-(34,35)
24 | 1-32(A,B,C), 1-36(A), 1-37.2(A,B,C), 1-38(A,B,C), 1-41(B,C) | 1-(41[R-11]),2-2 | Exit Light 1-41 (rear doors)
25
26
27
28 | 1-44(E,F,G)
29 |  | 1-(39,40)
30
31
32 | 1-36.2(A,B)
33 |  |  | Blower unit #4, #5
34
35 |  | 3-11, 1-35.3
36
37
38
39
40 |  | 1-36.4
41
42 |  | 1-(36,36.2,36.8,37,37.2,38)

## B-Blue
Panel B-Blue (located 3rd floor roof access room)
Federal Pacific Electric Co |  |  | . | . | ….. | ..
| Outlets | Lights
1 | 3-1(A) | 3-1, 3-2
2 | 3-3(C), 3-7(B) | 3-3.1
3 |  | 3-7
4 | 3-3(A), 3-4(A,B,C,D), 3-5(C)
5 | 3-3(B) | 3-3.2, 3-4
6 |  | 3-5.2, 3-6
7 | 3-5(A,B,D,E,F), 3-6(A,B,C,D), 3-7(C) | 3-5.1
8 | 3-7(A), 3-8(A) | 3-8
9 |  | 4-3.1
10
11 |  | 4-3.2
12
13
14
15 | 4-3(C,D,E,F), 4-8(C,B)
16
17 | 4-4(A,B,C)
18 | 4-9(A), 4-10(A,B), 4-11(A,B), 4-(9,10,11) | 4-(9,10,11)
19 |  | 4-3.3
20 |  | 4-(6,7,8)
21
22 | 4-5(A,B,C,D), 4-7(B) | 4-5
24

## C-Brown
Panel C-Brown (located upstairs baptistry W.)
.
| Outlets | Lights
1 |  | 1-45(L1,L3)
2 | 1-43(B)
3 |  | 1-(46,47,48,49)
4
5 |  | 1-(50,51,52)
6 | 1-46(A)
7 |  | 1-45(L2,L4)
8 | 1-46(C,E)
9
10 |  | 1-43(L5,L7), 1-44(L5,L7)
11 | 1-51(A)
12 | 1-45(A,B,C.D), 1-46(B), 1-48(A)
13

## D-Lights
Panel | D
1 | Control Room- Right #1 | .
2 | Control Room- Right #6
3 | Control Room- Right #2
4 | Control Room- Right #5
5 | Control Room- Right #3
6 | Control Room- Right #9
7 | Control Room- Right #4
8
9 | Control Room- Right #2
10
11 | Control Room- Right #7
12

## D-1-Pink
Panel D-1-Pink (located under baptistry)
|  |  | . | . | .
| Outlets | Lights
1 |  | Control Room- Left #1,3
2
3
4
5
6
7 |  | Control Room- Left #2,4
8
9
10 |  | Control Room- Left #5,7
11 | 1-43(A), 1-46(D)
12 | 1-44(A)

## E-HVAC
Panel E (located roof access)
Federal Pacific Electric Co. |  | . | . | ….. | …
Catalog No. 318-36
BF 836361
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19 | Unit #7 & 8 blower off
20 | Unit #7 & 8 blower off
21 | Unit #6a & 6b blower off
22 | Unit #6a & 6b blower off
23
24
25 | Unit #7 & 8 blower slows down
26 | Unit #7 & 8 blower slows down
27 | Unit #6a & 6b blower slows down
28 | Unit #6a & 6b blower slows down
29

## F
Panel "F" - located under baptistry by pump
. |  | . | .

## G-Purple
Panel G-purple (located 4th floor security room)
. |  |  | . | . | .. | … | ..
| 1 | [6 empty] | ….. | …..
2
3
4
5
| 6 | 4-3(B)
| 7 | 4-1(A), 4-3(A)
8
9
10
11
12
13

## Kp1 Kp2-Outlets
Panel KPI & KPII- Green (located computer closet)
|  |  | . | . | . | . | .
| outlets | lights
1
2 | 1-4(A,C,D), 1-5(B)
3 | 1-14(A)
4 | 1-2(C), 1-3(A,B,C), 1-4(B), 1-8(B)
5 | 1-15(A)
6 | 1-5(A,C,D), 1-6(B)
7 | 1-11(A,B,C)
8 | 1-9(A,B,C), 1-10(C)
9 | 1-10(A,B,D), 1-20(F)
10 | 1-6(A,C,D), 1-7(A,B,C)
11 | 1-8(A), 1-13(A), 1-20(G,H)
12 | 1-1(A,B), 1-2(A,B), 1-2(A,B)
13
14 | 1-1.2(A)
15
16 | 1-12(H)
17
18 | 1-12(I)
19
20 | 1-12(K)
21
22 | 1-12(L)
23
24 | 1-12(M)
25
26 | 1-12(N,O)
27
28 | 1-12(C)
29
30 | 1-12(A)
31
32
33
34 | 1-12(D)
35
36 | 1-12(B)
37
38 | 1-12(G)
39 | 1-31(A,B,C,D), 1-20(E)
40 | 1-12€
41 | 1-31(F,G,H,I), 1-40.2(A)
42
43 | 1-10€, 1-12(F)
44
45
46
47 | 1-12(J)

## Lp1 Lp2-Outlets
Panel LPI & LPII- Orange (located computer closet)
|  |  |  | . | . | . | . | .
. |  | Outlets | lights
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
| 20 | 1-24(B,C,D), 1-25(D,C)
| 21 | 1-20(D), 1-26(C)
| 22 | 1-20(A,I), 1-21(A), 1-23(A), 1-24(A,E,F),
| 23 | 1-25(A,B), 1-26(A,B,D)
| 24 | 1-27(A)
25
| 26 | 1-20(B,C)
27
28
29
30
31
32
33
34
35
36
37
38
| 39 | 1-31(A,B,C,D), 1-20(E)
40
| 41 | 1-31(F,G,H,I), 1-40.2(A)
42
| 43 | 1-10(E)

## L 1.5 Aud 1st floor
.
l

## L 2.5 Aud 1st floor
.

## L 3.5 Aud 1st floor
.

## L 4.5 Aud 1st floor
.

## L 5.5 Aud Baptistry
.

## L II.1 Aud 2nd floor
.

## L II.2 Aud 3rd floor
.

## L II.3 Aud 4th floor
.

## O I.5 1st Floor
.

## O 2.5 Office
.

## O 3.5 Gym
.

## O 4.5 Auditorium
.

## O 5.5 Baptistry
.

## O II.1 2nd Floor
.

## O II.2 3rd Floor
.

## O II.3 4th Floor
.